## In compliance
| Effluent Concentration (mg/L) | 12-Month Rolling Average (mg/L)
2019-01-01 | 0.6
2019-02-01 | 0.5
2019-03-01 | 0.7
2019-04-01 | 0.9
2019-05-01 | 1.1
2019-06-01 | 1.3
2019-07-01 | 0.8
2019-08-01 | 0.9
2019-09-01 | 1.1
2019-10-01 | 1.4
2019-11-01 | 0.2
2019-12-01 | 0.3 | 0.81667
2020-01-01 | 1.3 | 0.875
2020-02-01 | 0.6 | 0.88333
2020-03-01 | 0.7 | 0.88333
2020-04-01 | 1 | 0.89167
2020-05-01 | 1.8 | 0.95
2020-06-01 | 1.3 | 0.95
2020-07-01 | 1.1 | 0.975
2020-08-01 | 0.8 | 0.96667
2020-09-01 | 0.7 | 0.93333
2020-10-01 | 0.9 | 0.89167
2020-11-01 | 1 | 0.95833
2020-12-01 | 0.7 | 0.99167
2021-01-01 | 0.4 | 0.91667
2021-02-01 | 0.5 | 0.90833
2021-03-01 | 0.8 | 0.91667
2021-04-01 | 1 | 0.91667
2021-05-01 | 0.9 | 0.84167
2021-06-01 | 1.9 | 0.89167
2021-07-01 | 1.4 | 0.91667
2021-08-01 | 1.1 | 0.94167
2021-09-01 | 0.9 | 0.95833
2021-10-01 | 0.6 | 0.93333
2021-11-01 | 0.5 | 0.89167
2021-12-01 | 0.3 | 0.85833
Maximum Effluent Concentration (Annual Rolling Average) = 1.0 mg/L
gallon of water (lbs) = 8.34 lbs
Pounds per day = MGD x mg/L (ppm) x 8.34 lbs/gal
Pounds per month = MGD x mg/L(ppm) x 8.34 lbs/gal x days per month
0.1 MG/Day x 1.0 mg/L(ppm) x 8.34 lbs/gallon = 0.834lbs/day or 304.41 lbs/year
Compliance is determined December of each year. The 12-Month Rolling Average calculation for December of each year must be below the Maximum Effluent Concentration of 1.0 mg/L
Values in red indicate concentrations greater than the Maximum Effluent Concentration of 1.0 mg/L.
Although these values exceed 1.0 mg/L, compliance is based on the 12-Month Rolling Average and not a facility's concentration monthly

## Calculating Design Flow Limit
Facility Design Flow* (MGD): | 105
Facility Average Actual Flow (MGD): | 73
Massed Limit Concentration (mg/L) | 1
Mass-Based Annual Total Limit (lbs) | 319630.5
*This calculation uses the design flow, usually based on the most recent construction permit or design plans (except CSOs).
Actual Flow is not used in this calculation.
gallon of water (lbs) = 8.34 lbs
Pounds per year = MGD (design flow) x 1.0 mg/L (ppm) x 8.34 lbs/gal x 365 days

## Calculating the 75% Limit
| Monthly Average Effluent Concentration (mg/L) | 12-Month Rolling Average (mg/L) | Flow (MGD) | Total Monthly Flow (MG) | Lbs/ Month | Phosphorus Annual Total (lbs/yr)
2019-01-01 | 22 |  | 10.2 | 316.2 | 58016.376
2019-02-01 | 21.5 |  | 10.5 | 294 | 52717.14
2019-03-01 | 19.7 |  | 10.3 | 319.3 | 52460.3514
2019-04-01 | 17.5 |  | 10.7 | 321 | 46849.95
2019-05-01 | 22.1 |  | 11.1 | 344.1 | 63422.4474
2019-06-01 | 18.5 |  | 13.4 | 402 | 62024.58
2019-07-01 | 17 |  | 14.5 | 449.5 | 63730.11
2019-08-01 | 20.2 |  | 14.3 | 443.3 | 74681.8644
2019-09-01 | 17.5 |  | 12.1 | 363 | 52979.85
2019-10-01 | 14.3 |  | 11.8 | 365.8 | 43626.0396
2019-11-01 | 13.2 |  | 10.8 | 324 | 35668.512
2019-12-01 | 11.5 | 17.9167 | 11.5 | 356.5 | 34191.915 | 640369.1358
2020-01-01 | 21.3 | 17.8583 | 9.8 | 303.8 | 53967.6396
2020-02-01 | 19.5 | 17.6917 | 10.2 | 285.6 | 46447.128
2020-03-01 | 17.8 | 17.5333 | 10.8 | 334.8 | 49701.7296
2020-04-01 | 20.8 | 17.8083 | 11.2 | 336 | 58286.592
2020-05-01 | 16.4 | 17.3333 | 12.6 | 390.6 | 53424.7056
2020-06-01 | 18.5 | 17.3333 | 13.1 | 393 | 60635.97
2020-07-01 | 21.7 | 17.725 | 10.9 | 337.9 | 61152.4662
2020-08-01 | 17.5 | 17.5 | 11.2 | 347.2 | 50673.84
2020-09-01 | 16.5 | 17.4167 | 11.7 | 351 | 48301.11
2020-10-01 | 15.8 | 17.5417 | 12.1 | 375.1 | 49427.6772
2020-11-01 | 13.2 | 17.5417 | 9.7 | 291 | 32035.608
2020-12-01 | 12.8 | 17.65 | 10.5 | 325.5 | 34747.776 | 598802.2422
2021-01-01 | 13.1 | 16.9667 | 10.7 | 331.7 | 36239.5518
2021-02-01 | 15.6 | 16.6417 | 10.9 | 305.2 | 39707.7408
2021-03-01 | 19.8 | 16.8083 | 11.8 | 365.8 | 60405.2856
2021-04-01 | 20.5 | 16.7833 | 12.3 | 369 | 63087.93
2021-05-01 | 21.6 | 17.2167 | 13.4 | 415.4 | 74831.8176
2021-06-01 | 19.2 | 17.275 | 12.5 | 375 | 60048
2021-07-01 | 20.5 | 17.175 | 11.5 | 356.5 | 60950.805
2021-08-01 | 17.6 | 17.1833 | 10.8 | 334.8 | 49143.2832
2021-09-01 | 14.3 | 17 | 10.3 | 309 | 36851.958
2021-10-01 | 15.4 | 16.9667 | 9.7 | 300.7 | 38620.7052
2021-11-01 | 13.5 | 16.9917 | 11.2 | 336 | 37830.24
2021-12-01 | 11.8 | 16.9083 | 10.2 | 316.2 | 31117.8744 | 588835.1916
|  |  |  | AVERAGE ANNUAL LOAD (lbs) |  | 609335.5232
|  | 75% Reduction = New Annual Target Reduction Level (lbs) = |  |  |  | 152333.8808
[5 empty] | Daily Limit (lbs) = | 417.3531
gallon of water (lbs) = 8.34 lbs
Pounds per day = MGD x mg/L (ppm) x 8.34 lbs/gal
Pounds per month = MGD x mg/L(ppm) x 8.34 lbs/gal x days per month
A facility's Monthly Average Concentration (mg/L) of phosphorus is converted to pounds of phosphorus discharged per month (LBS/Month) based upon the facility's Total Monthly Flow (MG). A Phosphorus Annual Total (lbs/yr) is then calculated calculated to measure the total discharge of phosphorus per year.
The Average Annual Load (lbs) is calculated using the average of the Phosphorus Annual Total (lbs/yr) values. 75% of this Average Annual Load becomes the New Annual Target Reduction Level for the facility

## In compliance mass on design
| Effluent Concentration (mg/L) | 12-Month Rolling Average (mg/L) | Flow (MGD) | Total Monthly Flow (MG) | Lbs/ Month | Phosphorus Annual Total (lbs/yr)
2019-01-01 | 0.6 |  | 10.2 | 316.2 | 1582.2648
2019-02-01 | 0.5 |  | 10.5 | 294 | 1225.98
2019-03-01 | 0.7 |  | 10.3 | 319.3 | 1864.0734
2019-04-01 | 0.9 |  | 10.7 | 321 | 2409.426
2019-05-01 | 1.1 |  | 11.1 | 344.1 | 3156.7734
2019-06-01 | 1.3 |  | 13.4 | 402 | 4358.484
2019-07-01 | 0.8 |  | 14.5 | 449.5 | 2999.064
2019-08-01 | 0.9 |  | 14.3 | 443.3 | 3327.4098
2019-09-01 | 1.1 |  | 12.1 | 363 | 3330.162
2019-10-01 | 1.4 |  | 11.8 | 365.8 | 4271.0808
2019-11-01 | 0.2 |  | 10.8 | 324 | 540.432
2019-12-01 | 0.3 | 0.81667 | 11.5 | 356.5 | 891.963 | 29957.1132
2020-01-01 | 1.2 | 0.86667 | 9.8 | 303.8 | 3040.4304 | 31415.2788
2020-02-01 | 0.6 | 0.875 | 10.2 | 285.6 | 1429.1424 | 31618.4412
2020-03-01 | 0.7 | 0.875 | 10.8 | 334.8 | 1954.5624 | 31708.9302
2020-04-01 | 1 | 0.88333 | 11.2 | 336 | 2802.24 | 32101.7442
2020-05-01 | 3.1 | 1.05 | 12.6 | 390.6 | 10098.5724 | 39043.5432
2020-06-01 | 1.9 | 1.1 | 13.1 | 393 | 6227.478 | 40912.5372
2020-07-01 | 1.6 | 1.1667 | 10.9 | 337.9 | 4508.9376 | 42422.4108
2020-08-01 | 0.8 | 1.1583 | 11.2 | 347.2 | 2316.5184 | 41411.5194
2020-09-01 | 0.7 | 1.125 | 11.7 | 351 | 2049.138 | 40130.4954
2020-10-01 | 0.9 | 1.0833 | 12.1 | 375.1 | 2815.5006 | 38674.9152
2020-11-01 | 1 | 1.15 | 9.7 | 291 | 2426.94 | 40561.4232
2020-12-01 | 0.7 | 1.1833 | 10.5 | 325.5 | 1900.269 | 41569.7292
2021-01-01 | 0.4 | 1.1167 | 10.7 | 331.7 | 1106.5512 | 39635.85
2021-02-01 | 1.4 | 1.1833 | 10.9 | 305.2 | 3563.5152 | 41770.2228
2021-03-01 | 0.8 | 1.1917 | 11.8 | 365.8 | 2440.6176 | 42256.278
2021-04-01 | 1 | 1.1917 | 12.3 | 369 | 3077.46 | 42531.498
2021-05-01 | 0.9 | 1.0083 | 13.4 | 415.4 | 3117.9924 | 35550.918
2021-06-01 | 2.6 | 1.0667 | 12.5 | 375 | 8131.5 | 37454.94
2021-07-01 | 2.2 | 1.1167 | 11.5 | 356.5 | 6541.062 | 39487.0644
2021-08-01 | 1.1 | 1.1417 | 10.8 | 334.8 | 3071.4552 | 40242.0012
2021-09-01 | 0.9 | 1.1583 | 10.3 | 309 | 2319.354 | 40512.2172
2021-10-01 | 0.6 | 1.1333 | 9.7 | 300.7 | 1504.7028 | 39201.4194
2021-11-01 | 0.5 | 1.0917 | 11.2 | 336 | 1401.12 | 38175.5994
2021-12-01 | 0.3 | 1.0583 | 10.2 | 316.2 | 791.1324 | 37066.4628
Maximum Effluent Concentration (mg/L)= |  | 1 | Maximum Annual Discharge Limit (lbs)= |  |  | 42617.4
Design Flow (MGD) = | 14
gallon of water (lbs) = 8.34 lbs
Pounds per day = MGD x mg/L (ppm) x 8.34 lbs/gal
Pounds per month = MGD x mg/L(ppm) x 8.34 lbs/gal x days per month
14 MG/Day x 1.0 mg/L(ppm) x 8.34 lbs/gallon = 116.76 lbs/day or 42,617.4 lbs/year
Values in red indicate concentrations greater than the Maximum Effluent Concentration of 1.0 mg/L.
Although these values exceed 1.0 mg/L, compliance is based on the Phosphorus Annual Total and not a facility's concentration monthly
Compliance is determined December of each year. The Phosphorus Annual Total (lbs/yr) calculation for December of each year must be below the Maximum Annual Discharge Limit (lbs)
Maximum Annual Discharge Limit is calculated by the
This Maximum Annual Discharge Limit is used to assess compliance Decemeber of each year
Maximum Annual Discharge Limit is calculated by the 𝑑𝑒𝑠𝑖𝑔𝑛 𝑓𝑙𝑜𝑤 𝑋 𝑀𝑎𝑥𝑖𝑚𝑢𝑚 𝐸𝑓𝑓𝑙𝑢𝑒𝑛𝑡 𝐶𝑜𝑛𝑐𝑒𝑛𝑡𝑟𝑎𝑡𝑖𝑜𝑛 𝑋 𝑔𝑎𝑙𝑙𝑜𝑛𝑠 𝑜𝑓 𝑤𝑎𝑡𝑒𝑟 𝑝𝑒𝑟 𝑝𝑜𝑢𝑛𝑑 𝑋 365
This Maximum Annual Discharge Limit is used to assess compliance Decemeber of each year

## Using Credits
| Effluent Concentration (mg/L) | 12-Month Rolling Average (mg/L) | Flow (MGD) | Total Monthly Flow (MG) | Lbs/ Month | Phosphorus 12-Month Rolling Total (lbs/yr) | Annual Phosphorus Credit (lbs/yr) | Phosphorus Annual Total After Credit Limit (lbs/yr)
2019-01-01 | 22 |  | 10.2 | 316.2 | 58016.376
2019-02-01 | 21.5 |  | 10.5 | 294 | 52717.14
2019-03-01 | 19.7 |  | 10.3 | 319.3 | 52460.3514
2019-04-01 | 17.5 |  | 10.7 | 321 | 46849.95
2019-05-01 | 22.1 |  | 11.1 | 344.1 | 63422.4474
2019-06-01 | 18.5 |  | 13.4 | 402 | 62024.58
2019-07-01 | 17 |  | 14.5 | 449.5 | 63730.11
2019-08-01 | 20.2 |  | 14.3 | 443.3 | 74681.8644
2019-09-01 | 17.5 |  | 12.1 | 363 | 52979.85
2019-10-01 | 14.3 |  | 11.8 | 365.8 | 43626.0396
2019-11-01 | 13.2 |  | 10.8 | 324 | 35668.512
2019-12-01 | 11.5 | 17.9167 | 11.5 | 356.5 | 34191.915 | 640369.1358 | 490000 | 150369.1358
2020-01-01 | 21.3 | 17.8583 | 9.8 | 303.8 | 53967.6396 | 636320.3994 | 490000 | 146320.3994
2020-02-01 | 19.5 | 17.6917 | 10.2 | 285.6 | 46447.128 | 630050.3874 | 490000 | 140050.3874
2020-03-01 | 17.8 | 17.5333 | 10.8 | 334.8 | 49701.7296 | 627291.7656 | 490000 | 137291.7656
2020-04-01 | 20.8 | 17.8083 | 11.2 | 336 | 58286.592 | 638728.4076 | 490000 | 148728.4076
2020-05-01 | 16.4 | 17.3333 | 12.6 | 390.6 | 53424.7056 | 628730.6658 | 490000 | 138730.6658
2020-06-01 | 18.5 | 17.3333 | 13.1 | 393 | 60635.97 | 627342.0558 | 490000 | 137342.0558
2020-07-01 | 21.7 | 17.725 | 10.9 | 337.9 | 61152.4662 | 624764.412 | 490000 | 134764.412
2020-08-01 | 17.5 | 17.5 | 11.2 | 347.2 | 50673.84 | 600756.3876 | 490000 | 110756.3876
2020-09-01 | 16.5 | 17.4167 | 11.7 | 351 | 48301.11 | 596077.6476 | 490000 | 106077.6476
2020-10-01 | 15.8 | 17.5417 | 12.1 | 375.1 | 49427.6772 | 601879.2852 | 490000 | 111879.2852
2020-11-01 | 13.2 | 17.5417 | 9.7 | 291 | 32035.608 | 598246.3812 | 490000 | 108246.3812
2020-12-01 | 12.8 | 17.65 | 10.5 | 325.5 | 34747.776 | 598802.2422 | 445000 | 153802.2422
2021-01-01 | 13.1 | 16.9667 | 10.7 | 331.7 | 36239.5518 | 581074.1544 | 445000 | 136074.1544
2021-02-01 | 15.6 | 16.6417 | 10.9 | 305.2 | 39707.7408 | 574334.7672 | 445000 | 129334.7672
2021-03-01 | 19.8 | 16.8083 | 11.8 | 365.8 | 60405.2856 | 585038.3232 | 445000 | 140038.3232
2021-04-01 | 20.5 | 16.7833 | 12.3 | 369 | 63087.93 | 589839.6612 | 445000 | 144839.6612
2021-05-01 | 24.9 | 17.4917 | 13.4 | 415.4 | 86264.4564 | 622679.412 | 445000 | 177679.412
2021-06-01 | 23.8 | 17.9333 | 12.5 | 375 | 74434.5 | 636477.942 | 445000 | 191477.942
2021-07-01 | 17.8 | 17.6083 | 11.5 | 356.5 | 52923.138 | 628248.6138 | 445000 | 183248.6138
2021-08-01 | 17.6 | 17.6167 | 10.8 | 334.8 | 49143.2832 | 626718.057 | 445000 | 181718.057
2021-09-01 | 14.3 | 17.4333 | 10.3 | 309 | 36851.958 | 615268.905 | 445000 | 170268.905
2021-10-01 | 15.4 | 17.4 | 11.2 | 347.2 | 44592.9792 | 610434.207 | 445000 | 165434.207
2021-11-01 | 13.5 | 17.425 | 11.2 | 336 | 37830.24 | 616228.839 | 445000 | 171228.839
2021-12-01 | 11.8 | 17.3417 | 10.2 | 316.2 | 31117.8744 | 612598.9374 | 460000 | 152598.9374
[6 empty] | AVERAGE ANNUAL LOAD (lbs) |  | 617256.7718
|  |  |  | 75% Reduction Based Target Reduction Level (lbs) = |  |  |  | 154314.1929
gallon of water (lbs) = 8.34 lbs
Pounds per day = MGD x mg/L (ppm) x 8.34 lbs/gal
Pounds per month = MGD x mg/L(ppm) x 8.34 lbs/gal x days per month
Planned use of TP Credit of 490,000 lbs (generated/acquired in 2019)
Annual Phosphorus Credit (lbs/yr) is applied in December of each year for compliance. The Annual Phosphorus Credits projected to be used are estimated by subtracting the Target Reduction Level (lbs) from the previous year's Phosphorus 12 Month Rolling Total (lbs/yr) ( = ~490,000 credits needed). This value is then used as the Annual Phosphorus Credit in the following months (January-November) for purposes of monitoring the Phosphorus Annual Total After Credit Limit.
These calculated Phosphorus Annual Total After Credit Limit values are not used in compliance determination, rather it is for the facility to project whether their December Phosphorus Annual Total After Credit Limit will be in compliance with their Target Reduction Level or if the facility needs to optimize their treatment or accrue more credits.
Annual Phosphorus Credit (lbs/yr) is applied in December of each year for compliance. The Annual Phosphorus Credits projected to be used are estimated by subtracting the Target Reduction Level (lbs) from the previous year's Phosphorus 12 Month Rolling Total (lbs/yr) (640,396.14 − 154,314.19 = ~490,000 credits needed). This value is then used as the Annual Phosphorus Credit in the following months (January-November) for purposes of monitoring the Phosphorus Annual Total After Credit Limit.
These calculated Phosphorus Annual Total After Credit Limit values are not used in compliance determination, rather it is for the facility to project whether their December Phosphorus Annual Total After Credit Limit will be in compliance with their Target Reduction Level or if the facility needs to optimize their treatment or accrue more credits.
The Phosphorus Annual Total After Credit Limit (lbs/yr) is calculated by reducing the facility’s actual annual effluent phosphorus load for the previous 12 months. Compliance is evaluated in December of each year, or dyrung the Annual Reconciliation period ending MArch 28. In December of each year, a facility may use more or less Annual Phosphorus Credits than projected/used in the monthly reporting of Phosphorus Annual Total After Credit Limits (lbs/yr) in order to reach compliance. For instance, this example shows that the facility accrued 490,000(lbs) of Annual Phosphorus Credits to use in 2020, however only 445,000 Annual Phosphorus Credits were needed to reach compliance with the facility's Target Reduction Level in December 2020. This equates to 45,000 lbs of credits that can be carried over into the next year as long as they are still eligible for use within their Credit Time Term (5 years after generation in a unrestricted trading zone, 2 years after generation in a restricted trading zone).
Values in red indicate that the Annual Phosphorus Credits may not be enough to reach the Target Reduction Levels, and the facility should accure and use more credits to reach compliance in December

## DRAFT (hidden)
| Effluent Concentration (mg/L) | 12-Month Rolling Average (mg/L) | Flow (MGD) | Days in Month | Lbs/ Month | Phosphorus 12-Month Rolling Total (lbs/yr) | Annual Phosphorus Credit (lbs/yr) | Phosphorus 12-Month Rolling Total After Credit Limit (lbs/yr) | Flow * 8.34 * 1.0 | 12 month total
2019-01-01 | 22 |  | 10.2 | 31 | 58016.376 |  |  |  | 2624.46
2019-02-01 | 21.5 |  | 10.5 | 28 | 52717.14 |  |  |  | 2440.2
2019-03-01 | 19.7 |  | 10.3 | 31 | 52460.3514 |  |  |  | 2650.19
2019-04-01 | 17.5 |  | 10.7 | 30 | 46849.95 |  |  |  | 2664.3
2019-05-01 | 22.1 |  | 11.1 | 31 | 63422.4474 |  |  |  | 2856.03
2019-06-01 | 18.5 |  | 13.4 | 30 | 62024.58 |  |  |  | 3336.6
2019-07-01 | 17 |  | 14.5 | 31 | 63730.11 |  |  |  | 3730.85
2019-08-01 | 20.2 |  | 14.3 | 31 | 74681.8644 |  |  |  | 3679.39
2019-09-01 | 17.5 |  | 12.1 | 30 | 52979.85 |  |  |  | 3012.9
2019-10-01 | 14.3 |  | 11.8 | 31 | 43626.0396 |  |  |  | 3036.14
2019-11-01 | 13.2 |  | 10.8 | 30 | 35668.512 |  |  |  | 2689.2
2019-12-01 | 11.5 | 17.9167 | 11.5 | 31 | 34191.915 | 640369.1358 | 490000 | 150369.1358 | 2958.95 | 35679.21
2020-01-01 | 21.3 | 17.8583 | 9.8 | 31 | 53967.6396 | 636320.3994 | 490000 | 146320.3994 | 2521.54 | 35576.29
2020-02-01 | 19.5 | 17.6917 | 10.2 | 28 | 46447.128 | 630050.3874 | 490000 | 140050.3874 | 2370.48 | 35506.57
2020-03-01 | 17.8 | 17.5333 | 10.8 | 31 | 49701.7296 | 627291.7656 | 490000 | 137291.7656 | 2778.84 | 35635.22
2020-04-01 | 20.8 | 17.8083 | 11.2 | 30 | 58286.592 | 638728.4076 | 490000 | 148728.4076 | 2788.8 | 35759.72
2020-05-01 | 16.4 | 17.3333 | 12.6 | 31 | 53424.7056 | 628730.6658 | 490000 | 138730.6658 | 3241.98 | 36145.67
2020-06-01 | 18.5 | 17.3333 | 13.1 | 30 | 60635.97 | 627342.0558 | 490000 | 137342.0558 | 3261.9 | 36070.97
2020-07-01 | 21.7 | 17.725 | 10.9 | 31 | 61152.4662 | 624764.412 | 490000 | 134764.412 | 2804.57 | 35144.69
2020-08-01 | 17.5 | 17.5 | 11.2 | 31 | 50673.84 | 600756.3876 | 490000 | 110756.3876 | 2881.76 | 34347.06
2020-09-01 | 16.5 | 17.4167 | 11.7 | 30 | 48301.11 | 596077.6476 | 490000 | 106077.6476 | 2913.3 | 34247.46
2020-10-01 | 15.8 | 17.5417 | 12.1 | 31 | 49427.6772 | 601879.2852 | 490000 | 111879.2852 | 3113.33 | 34324.65
2020-11-01 | 13.2 | 17.5417 | 9.7 | 30 | 32035.608 | 598246.3812 | 490000 | 108246.3812 | 2415.3 | 34050.75
2020-12-01 | 12.8 | 17.65 | 10.5 | 31 | 34747.776 | 598802.2422 | 445000 | 153802.2422 | 2701.65 | 33793.45
2021-01-01 | 13.1 | 16.9667 | 10.7 | 31 | 36239.5518 | 581074.1544 | 445000 | 136074.1544 | 2753.11 | 34025.02
2021-02-01 | 15.6 | 16.6417 | 10.9 | 28 | 39707.7408 | 574334.7672 | 445000 | 129334.7672 | 2533.16 | 34187.7
2021-03-01 | 19.8 | 16.8083 | 11.8 | 31 | 60405.2856 | 585038.3232 | 445000 | 140038.3232 | 3036.14 | 34445
2021-04-01 | 20.5 | 16.7833 | 12.3 | 30 | 63087.93 | 589839.6612 | 445000 | 144839.6612 | 3062.7 | 34718.9
2021-05-01 | 24.9 | 17.4917 | 13.4 | 31 | 86264.4564 | 622679.412 | 445000 | 177679.412 | 3447.82 | 34924.74
2021-06-01 | 23.8 | 17.9333 | 12.5 | 30 | 74434.5 | 636477.942 | 445000 | 191477.942 | 3112.5 | 34775.34
2021-07-01 | 17.8 | 17.6083 | 11.5 | 31 | 52923.138 | 628248.6138 | 445000 | 183248.6138 | 2958.95 | 34929.72
2021-08-01 | 17.6 | 17.6167 | 10.8 | 31 | 49143.2832 | 626718.057 | 445000 | 181718.057 | 2778.84 | 34826.8
2021-09-01 | 14.3 | 17.4333 | 10.3 | 30 | 36851.958 | 615268.905 | 445000 | 170268.905 | 2564.7 | 34478.2
2021-10-01 | 15.4 | 17.4 | 11.2 | 31 | 44592.9792 | 610434.207 | 445000 | 165434.207 | 2881.76 | 34246.63
2021-11-01 | 13.5 | 17.425 | 11.2 | 30 | 37830.24 | 616228.839 | 445000 | 171228.839 | 2788.8 | 34620.13
2021-12-01 | 11.8 | 17.3417 | 10.2 | 31 | 31117.8744 | 612598.9374 | 460000 | 152598.9374 | 2624.46 | 34542.94
[6 empty] | AVERAGE ANNUAL LOAD (lbs) |  | 617256.7718
|  |  |  | 75% Reduction based Target Reduction Level (lbs) |  |  |  | 154314.1929
gallon of water (lbs) = 8.34 lbs
Pounds per day = MGD x mg/L (ppm) x 8.34 lbs/gal
Pounds per month = MGD x mg/L(ppm) x 8.34 lbs/gal x days per month
Planned use of TP Credit of 521,000 lbs (generated/acquired in 2019)